| In case of emergency call: |  | Hot Work Permit |  |
| --- | --- | --- | --- |

| THIS PERMIT IS GOOD FOR 24 HOURS ONLY |  |  |  |
| --- | --- | --- | --- |
| Section 1 General Information |  |  |  |
| General Work Permit No.: |  |  | Hot Work by ☐ Sachem Inc personnel ☐ Contractors |
| Additional Comments : |  |  |  |
| Section 2 Fire Watch Requirement |  |  |  |
| ☐ YES – Fire watch required ☐ NO – Go to Section 3 |  | Will there be DRILLING, CUTTING, or SOLDERING or GRINDING, or BRAZING, or WELDING, or TORCHING, or any work that generates sparks or open flames? |  |
| Fire watch and fire monitoring requirements |  |  |  |
| ☐ | Fire watch is provided during and for a minimum of 1 hour after hot work, including any break activity. |  |  |
| ☐ | Fire watch is provided with suitable extinguishers and, where practical, a charged small hose. |  |  |
| ☐ | Fire watch knows how to use fire extinguishers, hydrants, and how to trigger emergency alarms. |  |  |
| Section 3 Requirements for Hot Work |  |  |  |
| 3a General Requirements (all must be true) |  |  |  |
| - ☐ At the hot work location - Available sprinklers, hose streams, and fire extinguishers are in service and operable |  |  |  |
| - ☐ Site-wide- Plant fire protection system is in service and operable |  |  |  |
| - ☐ O2 / LEL Monitor with calibration up to date. Calibrated on: ________________ Next Calibration: ________________ |  |  |  |
| 3b Requirements within 35 ft of hot work (all must be true) |  |  |  |
| - ☐ Flammable liquid, dust, lint, and oily deposits on the floor were removed. |  |  |  |
| - ☐ Explosive atmosphere in area eliminated. (Initial measurement will be recorded in Section 4) |  |  |  |
| - ☐ All other flammable/combustible materials were removed (i.e., place all combustibles/flammables at least 35ft away from the hot work activity) |  |  |  |
| If not, ☐ All flammable/combustible materials that could not be removed were covered with proper fire-resistant materials (such as welding pads, blankets, or curtains; fire-resistive tarpaulins), or metal shields, or noncombustible materials AND |  |  |  |
| ☐ Continuous Air / LEL Monitoring will be recorded in Section 4 |  |  |  |
| - ☐ Floors swept clean and trash removed. |  |  |  |
| - ☐ Combustible floors wet down or covered with damp sand or fire-resistive/non-combustible materials or equivalent. |  |  |  |
| - ☐ Personnel protected from electrical shock when floors are wet. |  |  |  |
| - ☐ All wall and floor openings area covered. (Cover all sumps, trenches, and drains with 35ft of the hot work) |  |  |  |
| - ☐ Ducts and conveyors that might carry sparks to distant combustible material covered, protected, or shut down |  |  |  |
| 3c Additional Requirements for hot work on walls, ceilings, or roofs (all must be true if applicable) ☐ NOT APPLICABLE |  |  |  |
| - ☐ Construction is noncombustible and without combustible coverings or insulation. |  |  |  |
| - ☐ Combustible material on the other side of walls, ceilings, or roofs is moved away |  |  |  |
| 3d Additional Requirements for hot work on enclosed equipment (all must be true if applicable) ☐ NOT APPLICABLE |  |  |  |
| - ☐ Enclosed equipment is cleaned of all combustibles. |  |  |  |
| - ☐ Containers are purged of flammable liquid/vapor. |  |  |  |
| - ☐ Pressurized vessels, piping, and equipment removed from service, isolated, and vented |  |  |  |

| Section 4 Continuous Air / LEL Monitoring |  |  |  |
| --- | --- | --- | --- |
| MUST record %LEL and %O2 - Before initiating the hot work (Initial measurement) - After brief breaks - After prolonged breaks **** Leave the %LEL handheld device always ON and near to the hot work activity **** |  |  |  |
| Measurement | %LEL Must be 0% | %O2 | Initials / Comments |
| Initial Measurement (REQUIRED) |  |  |  |
| After Break (if applicable) |  |  |  |
| After Break (if applicable) |  |  |  |
| After Break (if applicable) |  |  |  |
| After Break (if applicable) |  |  |  |
| Final Measurement (REQUIRED) |  |  |  |

DATE / / Time STARTED:

| Section 5 AUTHORIZATION – BEFORE THE HOT WORK |  |
| --- | --- |
| Person doing the Hot Work |  |
| Team leader (Person supervising the team carrying out the work) |  |
| Fire Watch person | X |
| I certify that understand my duties as fire watch. I will remain in the area for at least 1 hour after the work is completed |  |
| Shift Supervisor or Equivalent Area Owner |  |

DATE / / Time COMPLETED:

| Section 6 CLOSEOUT – AFTER THE HOT WORK |  |
| --- | --- |
| Person doing the Hot Work |  |
| Team leader (Person supervising the team carrying out the work) |  |
| Fire Watch person | X |
| I remained in the area for at least 1 hour after the work was completed, and NO SIGNS of fire or smoldering fire was observed. |  |
| Shift Supervisor or Equivalent Area Owner | The area was checked after the hot work was completed and there were NO SIGNS of fire or smoldering fire |

This Work Permit must be posted in the work area / Upon job completion, this signed permit must be returned to HSE Dept.